## Instructions
METHODS & PT PARTICIPATION PLAN INSTRUCTIONS
You may use the Method Summary tab in DMS to download a list of your currently accredited methods to assist you in completing the ELLAP Methods & PT Participation Plan. Once you have created a new application in DMS you will see a tab named PATHWAY REPORT Methods or Method Summary in the list. From this tab, click on the “Actions” button, then click on “Rows Per Page” and select “All”. Click “Actions” again and select “Download”. Choose the Excel (csv) format. The file will download to your computer. Copy and paste from the downloaded summary to the Form 2 template on the other tab of this workbook. You will need to fill in the remaining information for columns E and F. If you need to add methods, insert rows and note "ADD" in the column E. If you need to delete methods, leave them on the form and please note "DELETE" in the column E and we will remove those methods.
For each Field of Testing for which you are applying, please list all internal method numbers and the corresponding published reference method, if available. If more space is needed, the cells will expand to accommodate each method listed. If more space is needed to capture methods not defined on the form, please add rows to the table.
Each published method reference should be listed individually (“Various NIOSH and OSHA Methods” is not sufficient).
Include both analytical and preparation methods.
List the PT participation plan for each Field of Testing or method (refer to Policy Module 6 and the Scope/PT Table on the AIHA LAP website).
For FoT additions at the time of assessment, not included on the laboratory’s Form 2 upon application submission, the laboratory must first give sufficient notice (a minimum of ten (10) business days) notice, subject to agreement by the assessor.

## ELLAP
Component, parameter, or characteristic tested (Level 2) | Technology/SubType Detector (Level 3) | List Corresponding Published Reference Method or Title of In-House Method (Level 4) | List Laboratory Method Number | Annual Number of Analyses performed for each selected FoT (approximate) | PT Participation Plan | Do not complete with application Scope Verification/Witnessing (Completed by the Site Assessor)
(Sample Entry) Paint Chips | (Sample Entry) ICP | (Sample Entry) EPA SW-846 3050 | (Sample Entry) SOP M-1 | (Sample Entry) 150 | (Sample Entry) ELPAT Paint
(Sample Entry) Paint Chips | (Sample Entry) AA | (Sample Entry) EPA SW-846 6010B | (Sample Entry) SOP M-1 | (Sample Entry) 250 | (Sample Entry) ELPAT Paint
Airborne Dust | AA
Airborne Dust | ICP
Composited Wipes | AA
Composited Wipes | ICP
Paint Chips | AA
Paint Chips | ICP
Settled Dust by Wipe | AA
Settled Dust by Wipe | ICP
Soil | AA
Soil | ICP